# PowerWave 16D V6.20+ Up/Download PC Software Installation

# INSTALLING THE SOFTWARE

To install the software, insert the disk labeled Disk 1 of 2 into the floppy drive.

Next, select “Run” from the start menu.

Type in; A:\setup.exe (use B:\setup.exe if using the B drive), then select “OK”.

(The program will automatically install itself).

When you get to the prompt that asks for the “Product registration Code” leave this field blank and select the “Proceed’ button.

When the installation process asks for Disk 2, remove Disk 1 from the floppy drive replacing it with disk 2 of 2 then press “Enter”.

The software will automatically create a new folder called “16 Zone Upload Download” and install itself in the following area on your computers “C:” drive;

C:\Program Files\Upload Download\16 Zone Upload Download

It will also create a new Icon on your Desktop called XLD16i.

### LOGGING ON TO THE PROGRAM

## Double click on this Icon and the new program will run automatically.

## The default LOGIN Name and PASSWORD are listed below.

DEFAULT LOGIN NAME = “PW16”

DEFAULT PASSWORD  = “PW16”

#### CHANGING YOUR PASSWORD

To change this password select “File”, “Passwords” then “Edit Existing”.

Then in the “Login Name” window type “PW16” then press the “Enter” button.

You may now put in your new password then confirm it in the second entry. At this put you can go back to the login name and change it to your own name.

When finished, press “OK” to save the changes. You may also create new users and their individual passwords with limited access to various operations by not ticking any of the option boxes when setting then up.

#### BACKING UP YOUR DATABASE

NOTE: All panel databases’, login names and passwords are stored in the encrypted “xld16i.cf” file. It is important to back up this file to a CD or Floppy disk regularly so that your database can be re-instated in the case of a system failure. You may either copy this file to a backup disk or you can export individual database files using the “File”, “Configuration”, “Export” option.